## 03.12
Cuadro 3.12 | RELACIÓN NOMINAL DE CENTRALES NUCLEARES EN CONSTRUCCIÓN EN EL MUNDO
|  | NOMBRE | TIPO | MODELO | POT.NETA | POT.BRUTA | OPERADOR | FABRICANTE | INICIO | ESTIMAC
[5 empty] | MW | MW |  |  | CONSTR. | OPERACIÓN
ARGENTINA |  | CAREM25 | PWR | CAREM Prototype | 25 | 29 | CNEA | CNEA | 2 / 2014 | —
BANGLADESH |  | ROOPPUR-1 | PWR | VVER V-523 | 1080 | 1200 | NPCBL | AEM | 11 / 2017 | —
|  | ROOPPUR-2 | PWR | VVER V-523 | 1080 | 1200 | NPCBL | AEM | 7 / 2018 | —
BIELORUSIA |  | BELARUSIAN-2 | PWR | VVER V-491 | 1110 | 1194 | BelNPP | JSC ASE | 4 / 2014 | —
BRASIL |  | ANGRA-3 | PWR | PRE KONVOI | 1340 | 1405 | ELETRONU | KWU | 6 / 2010 | 1 / 2026
CHINA |  | FANGCHENGGANG-3 | PWR | HPR1000 | 1000 | 1180 | GFNPC | CFHI | 12 / 2015 | —
|  | FANGCHENGGANG-4 | PWR | HPR1000 | 1000 | 1180 | GFNPC | CFHI | 12 / 2016 | —
|  | FUQING-6 | PWR | HPR1000 | 1000 | 1150 | FQNP | NPIC | 12 / 2015 | —
|  | HONGYANHE-5 | PWR | ACPR-1000 | 1061 | 1119 | LHNPC | DEC | 3 / 2015 | —
|  | HONGYANHE-6 | PWR | ACPR-1000 | 1061 | 1119 | LHNPC | DEC | 7 / 2015 | —
|  | SAN'AO-1 | PWR | HPR1000 | 1100 | 1200 | CGNJV | CNNC | 12 / 2020
|  | SHIDAO BAY-1 | HTGR | HTR-PM | 200 | 211 | HSNPC | TSINGHUA | 12 / 2012 | —
|  | TAIPINGLING-1 | PWR | HPR1000 | 1116 | 1200 | HZNP | DEC | 12 / 2019 | —
|  | TAIPINGLING-2 | PWR | HPR1000 | 1116 | 1202 | HZNP | DEC | 10 / 2020
|  | TIANWAN-6 | PWR | CNP-1000 | 1000 | 1118 | JNPC | CFHI | 9 / 2016 | —
|  | XIAPU-2 | FBR | CFR-600 | 600 |  |  | CNNC | 12 / 2020
|  | ZHANGZHOU-1 | PWR | HPR1000 | 1126 | 1212 | ZGZEC | CFHI | 10 / 2019 | —
|  | ZHANGZHOU-2 | PWR | HPR1000 | 1126 | 1202 | ZGZEC | CFHI | 9 / 2020
COREA DEL SUR |  | SHIN-HANUL-1 | PWR | APR-1400 | 1340 | 1400 | KHNP | DHICKOPC | 7 / 2012 | —
|  | SHIN-HANUL-2 | PWR | APR-1400 | 1340 | 1400 | KHNP | DHICKOPC | 6 / 2013 | —
|  | SHIN-KORI-5 | PWR | APR-1400 | 1340 | 1400 | KHNP | DHICKOPC | 4 / 2017 | —
|  | SHIN-KORI-6 | PWR | APR-1400 | 1340 | 1400 | KHNP | DHICKOPC | 9 / 2018 | —
EMIRATOS A.U. |  | BARAKAH-2 | PWR | APR-1400 | 1345 | 1400 | NAWAH | KEPCO | 4 / 2013 | —
|  | BARAKAH-3 | PWR | APR-1400 | 1345 | 1400 | NAWAH | KEPCO | 9 / 2014 | —
|  | BARAKAH-4 | PWR | APR-1400 | 1345 | 1400 | NAWAH | KEPCO | 7 / 2015 | —
ESLOVAQUIA |  | MOCHOVCE-3 | PWR | VVER V-213 | 440 | 471 | SE | SKODA | 1 / 1987 | —
|  | MOCHOVCE-4 | PWR | VVER V-213 | 440 | 471 | SE | SKODA | 1 / 1987 | 4 / 2022
ESTADOS UNIDOS |  | VOGTLE-3 | PWR | AP-1000 | 1117 | 1250 | SOUTHERN | WH | 3 / 2013 | —
|  | VOGTLE-4 | PWR | AP-1000 | 1117 | 1250 | SOUTHERN | WH | 11 / 2013 | —
FINLANDIA |  | OLKILUOTO-3 | PWR | EPR | 1600 | 1720 | TVO | AREVA | 8 / 2005 | —
FRANCIA |  | FLAMANVILLE-3 | PWR | EPR | 1630 | 1650 | EDF | AREVA | 12 / 2007 | —
INDIA |  | KAKRAPAR-3 | PHWR | PHWR-700 | 630 | 700 | NPCIL | NPCIL | 11 / 2010 | —
|  | KAKRAPAR-4 | PHWR | PHWR-700 | 630 | 700 | NPCIL | NPCIL | 11 / 2010 | —
|  | KUDANKULAM-3 | PWR | VVER V-412 | 917 | 1000 | NPCIL | JSC ASE | 6 / 2017 | 3 / 2023
|  | KUDANKULAM-4 | PWR | VVER V-412 | 917 | 1000 | NPCIL | JSC ASE | 10 / 2017 | 11 / 2023
|  | PFBR | FBR | Prototype | 470 | 500 | BHAVINI |  | 10 / 2004 | —
|  | RAJASTHAN-7 | PHWR | Horizontal Pre | 630 | 700 | NPCIL | NPCIL | 7 / 2011 | —
|  | RAJASTHAN-8 | PHWR | Horizontal Pre | 630 | 700 | NPCIL | NPCIL | 9 / 2011 | —
IRÁN |  | BUSHEHR-2 | PWR | V-528 VVER-100 | 974 | 1057 | NPPDCO | JSC ASE | 9 / 2019 | —
JAPÓN |  | OHMA | BWR | ABWR | 1328 | 1383 | EPDC | H/G | 5 / 2010 | —
|  | SHIMANE-3 | BWR | ABWR | 1325 | 1373 | CHUGOKU | HITACHI | 10 / 2007 | —
PAQUISTÁN |  | KANUPP-2 | PWR | ACP-1000 | 1014 | 1100 | PAEC | CZEC | 8 / 2015 | —
|  | KANUPP-3 | PWR | ACP-1000 | 1014 | 1100 | PAEC | CZEC | 5 / 2016 | —
REINO UNIDO |  | HINKLEY POINT C-1 | PWR | EPR-1750 | 1630 | 1720 | EDF-CGN | AREVA | 12 / 2018 | —
|  | HINKLEY POINT C-2 | PWR | EPR-1750 | 1630 | 1720 | EDF-CGN | AREVA | 12 / 2019 | —
RUSIA |  | BALTIC-1 | PWR | VVER V-491 | 1109 | 1194 | REA | AEM | 2 / 2012 | —
|  | KURSK 2-1 | PWR | VVER V-510K | 1175 | 1255 | REA | AEM | 4 / 2018 | 9 / 2023
|  | KURSK 2-2 | PWR | VVER V-510K | 1175 | 1255 | REA | AEM | 4 / 2019 | 8 / 2024
TAIWAN |  | LUNGMEN 1 | BWR | ABWR | 1300 | 1350 | TPC | GE | 3 / 1999 | —
|  | LUNGMEN 2 | BWR | ABWR | 1300 | 1350 | TPC | GE | 8 / 1999 | —
TURQUÍA |  | AKKUYU-1 | PWR | VVER V-509 | 1114 | 1200 | ANC | AEM | 4 / 2018 | —
|  | AKKUYU-2 | PWR | VVER V-509 | 1114 | 1200 | ANC | AEM | 4 / 2020 | —
UCRANIA |  | KHMELNITSKI-3 | PWR | VVER | 1035 | 1089 | NNEGC | JSC ASE | 3 / 1986 | —
|  | KHMELNITSKI-4 | PWR | VVER | 1035 | 1089 | NNEGC | JSC ASE | 2 / 1987 | —
Fuente: PRIS-IAEA (hasta 2019) y Foro Nuclear (año 2020 con datos WNA, PRIS y otras fuentes). Datos a 31.12.2020.
Significado de las siglas
TIPO DE REACTOR
BWR: Reactor de agua en ebullición
GCR: Reactor refrigerado por gas
FBR: Reactor reproductor rápido refrigerado por sodio
HTGR: Reactor grafito-gas a alta temperatura
LWGR (RBMK): Reactor de grafito y agua ligera
PHWR: Reactor de agua pesada
PWR: Reactor de agua a presión
OPERADORES
ANJSC: AKKUYU NUCLEAR JOINT STOCK COMPANY
BelNPP: BELARUSIAN NUCLEAR POWER PLANT
BHAVINI : BHARATIYA NABHIKIYA VIDYUT NIGAM LIMITED
CGNJV: CHINA GENERAL NUCLEAR JOINT VENTURE
CNEA :COMISIÓN NACIONAL DE ENERGÍA ATÓMICA (ARGENTINA)
CNNP: CHINA NATIONAL NUCLEAR CORPORATION GUODIAN ZHANGZHOU ENERGY CO.,LTD
CHUGOKU : CHUGOKU ELECTRIC POWER COMPANY (JAPON).
DSAE :DIRECTORATE FOR NUCLEAR POWER PLANT CONSTRUCTION (BIELORUSIA)
EDF : ELECTRICITE DE FRANCE
EDPC: ELECTRIC POWER DEVELOPMENT CO. LTD.
ENEC: EMIRATES NUCLEAR ENERGY CORPORATION (UNITED ARAB EMIRATES)
FQNP: FUGIAN FUQUING NUCLEAR POWER LIMITED COMPANY
GFNPC: GUANGXI FANGCHENGGANG NUCLEAR POWER COMPANY LTD
HNPC: HAINAN NUCLEAR POWER PLANT COMPANY
HSNPC: HUANENG SHANDONG SHIDAO BAY NUCLEAR POWER COMPANY LTD
HZNP: CGN HUIZHOU NUCLEAR POWER CO.,LTD
JNPC : JIANGSU NUCLEAR POWER CORPORATION
KHNP : KOREA HYDRO & NUCLEAR POWER
LHNPC : LIAONING HONGYANHE NUCLEAR POWER CO. LTD. (LHNPC)
NDNP :FUJIAN NINGDE NUCLEAR POWER COMPANY LIMITED
NPPDI: NUCLEAR POWER PRODUCTION & DEVELOPEMENT CO. OF IRAN
NNEGC : NATIONAL NUCLEAR ENERGY GENERATING COMPANY (ENERGOATOM)
NNEGC :NATIONAL NUCLEAR ENERGY GENERATING COMPANY
NPCIL : NUCLEAR POWER CORPORATION OF INDIA LTD.
NPPCBL: NUCLEAR POWER PLANT COMMISSION BANGLADESH LD.
PAEC : PAKISTAN ATOMIC ENERGY COMMISSION (PAKISTAN).
QNPC : QINSHAN NUCLEAR POWER COMPANY FILIALE DE NPC (CHINA) .
REA : ROSENERGOATOM CONSORTIUM (RUSIA) .
SCE&G : SOUTH CAROLINA ELECTRIC & GAS CO
SDNPC: SANDONG NUCLEAR POWER COMPANY (SDNPC)
SE,plc : SLOVENSKÉ ELEKTRÁRNE, A.S.
SMNPC: SANMEN NUCLEAR POWER COMPANY (SMNPC)
SOUTHERN: SOUTHER NUCLEAR OPERATING CO.
TNPC: GUANGDONG TAISHAN NUCLEAR POWER JOINT VENTURE COMPANY LIMITED
TPC : TAIWAN POWER CO
TVA : TENNESSEE VALLEY AUTHORITY
TVO : TEOLLISUUDEN VOIMA OY
YJNPC :YANGJIANG NUCLEAR POWER CO LTD
ZGZEC: CNNP GUODIAN ZHANGZHOU ENERGY CO.,LTD
FABRICANTES
AREVA: GRUPO AREVA (FRANCIA)
ASE: ATOMSTROY EXPORT (RUSIA)
CFHI: CHINA FIRST HEAVY INDUSTRIES
CNEA :COMISIÓN NACIONAL DE ENERGÍA ATÓMICA (ARGENTINA)
CNNC : CHINA NATIONAL NUCLEAR CORPORATION
CZEC: CHINA ZHONGYUAN ENGINEERING CORPORATION
DEC : DONFANG ELECTRIC CORPORATION
DHICKOPC : DOOSAN HEAVY INDUSTRIES & CONSTRUCTION CO.LTD KOREA POWER ENGINEERING COMPANY/ COMBUSTION NGINEERING
GE : GENERAL ELECTRIC COMPANY (ESTADOS UNIDOS).
H/G: HITACHI-GENERAL ELECTRIC
HITACHI : HITACHI CO LTD (JAPON).
IZ: IZ-KARTEX (RUSIA)
KEPCO: KOREA ELECTRIC POWER CORPORATION (REPUBLIC OF KOREA)
KWU : ( SIEMENS) KRAFTWERK UNION AG (ALEMANIA).
MAEP : MINATOMENERGOPROM, MINISTRY OF NUCLEAR POWER AND INDUSTRY(RUSIA)
NPCIL: NUCLEAR POWER CORPORATION OF INDIA LTD.
NPIC: NUCLEAR POWER INSTITUTE OF CHINA
ROSATOM: ROSATOM STATE NUCLEAR ENERGY CORPORATION (RUSSIAN FEDERATION)
SKODA : SKODA CONCERN NUCLEAR POWER PLANT WORKS
TSINGHUA: TSINGHUA UNIVERSITY
WH : WESTING HOUSE
WH / MHI : WESTING HOUSE / MITSUBISHI HEAVY INDUSTRIES